## Slide 1
ON
Temperature and Humidity Detector
PAUSE
shut off
when [power out] / switch to battery
after(10m)
power mode
[!= battery]
[= battery]
OFF
Idle

## Slide 2
ON
ACTIVE
IDLE
after(2m)
Idle
at(6AM) [configured]
[!configured]
[configured]
activate
Skip Configuration
at(11PM)
deactivate
OnEntry: green LED on
OnExit: green LED off

## Slide 3
ACTIVE
MONITORING
CONFIGURING
Skip Configuration
set
OnEntry: green LED on
OnExit: green LED off
ERROR
[inactivity > 2m] / beep
reset
Invalid Parameter(s)

## Slide 4
CONFIGURING
READY
Invalid Parameter(s)
set(temperature threshold)
set(humidity threshold)
WAIT_FOR_H
set(temperature threshold)
VALIDATING
set(humidity threshold)
after(5s)
[else]
[temperature threshold = null]
[humidity threshold = null]
done
WAIT_FOR_H
set(temperature threshold)
done

## Slide 5
MONITORING
READING
EMERGENCY
reset
Readings Over Threshold(s)

## Slide 6
READING
PROCESSING
Readings Over Threshold(s)
IDLE
OnEntry: read sensor values
after(10s)
when [temperature > temperature threshold;
humidity > humidity threshold]
after(10s) / LED off
[temperature ∈ normal range;
humidity ∈ normal range] / LED off
[temperature ∈ high range;
humidity ∈ high range]
/ RED_LED on
[temperature ∈ medium range;
humidity ∈ medium range]
/ ORANG_LED on